# LTT-LAR12100P2

## (12.8V100Ah)

#### ▶ Product Features

- Using the technology of lithium iron phosphate cell, superior safety, thousands of cycles, 100%DOD, under normal conditions.

- Built-in automatic protection for over-charge, over discharge, over current and over temperature.

- Free of maintenance .

- Internal cell balancing.

- Lighter weight: About 40% ~50% of the weight of a comparable lead acid battery.

- Replacement for lead-acid battery.

- Wider temperature range:-20℃~60℃.

- Support for Series application expansion (up to 25.6V)

### Electrical Characteristics

Nominal Voltage	12.8V

Nominal Capacity	100Ah@0.2C

Min. Capacity	98Ah@0.2C

Internal Resistance	≤ 25mΩ

Nominal Energy	1280Wh

Cycle Life	2000 Cycles @ 20A Charging/Discharging ,Until 70% Capacity

Self Discharge	≤3.5% per month at 25℃

Bluetooth&Heat	NO

### Standard Charging &Discharge

Max.Charging Voltage	14.0~14.4V

Charging Mode	CC-CV

Charging Current	20A

Discharging Current	50A

Max.Charging Current	50A

Max. Continuous Discharging Current	100A

Max.Pulse Discharging Current	200(A<3S)

Discharging Cut-off Voltage	10.8V

### Operating Condition

Charge Temperature	0℃ to 45℃(32℉ to 113℉) @60±25% Relative Humidity

Discharge Temperature	-20℃ to 60℃(-4℉ to 140℉) @60±25% Relative Humidity

Storage Temperature	0℃ to 45℃(32℉ to 113℉) @60±25% Relative Humidity

Structure

Casing	Plastic

Dimension(L*W*H*TH)	260x169x210mm

Weight	Approx.	10.3Kgs

Water Dust Resistance	IP65

Terminal	M8

### Certifications

- UL1642 (Cell) ■ IEC62133 (Cell)	■ IEC62619 (Cell) ■CE (Cell) ■UN38.3 (Cell / Pack) ■ ROHS (Cell)

Version: V1.0	Date: 20-May-23	Code: 23133145

# LTT-LAR12100P2

## (12.8V100Ah)

260mm

210mm

169mm

Dimensions

Characteristic Curves

Market Application

Low-speed car	Golf cart	Light EV	Robotics	Cleaning

Solar &Wind

Lighting